## Existing Hydromet Network
# | Station | Type | District | Governorate | Type of location | Coordinates |  | Status | Type | Data Transfer | Year of Establishment | Operated by | Notes
1 | Hawban Qadas / Health Center | Rainfall Station | Hawban | Taiz | Health Center | 406034 | 1470223 | Stopped | Manual | Manual | 2007 | NWRA | Old - Needs to be replaced by an Automatic station
2 | Al-Arayes | Runoff Gauge | Tuban | Lahj | Wadi | 474940 | 1462515 | Stopped | No device | No device | 2011 | MAIF | No device. A new automatic station needs to be installed
3 | Bayzag | Runoff Gauge | Tuban | Lahj | Wadi | 484478 | 1450572 | Stopped | No device | No device | 2011 | MAIF | No device. A new automatic station needs to be installed
4 | Falaj Iyad | Runoff Gauge | Tuban | Lahj | Wadi | 483664 | 1448165 | Stopped | No device | No device | 2011 | MAIF | No device. A new automatic station needs to be installed
5 | Qadas / Al-Ma'amra | Climate Station | Al-Mawaset | Taiz | School | 411088 | 1471616 | Stopped | Automatic | Non-wireless | 2007 | NWRA | Stopped due to O&M challenges
6 | Bal'an | Rainfall Station | Al-Masrakh | Taiz | - | 398099 | 1484000 | Stopped | Manual | Manual | 1998 | NWRA | Old - Needs to be replaced by an Automatic station
7 | Warzan | Rainfall Station | Al-Misrakh | Taiz | School | 417618 | 1483321 | Stopped | Manual | Manual | 1998 | NWRA | Old - Needs to be replaced by an Automatic station
8 | Al-Damnah | Rainfall Station | Al-Damnah | Taiz | School | 412321 | 1487045 | Stopped | Manual | Manual | 2007 | NWRA | Old - Needs to be replaced by an Automatic station
9 | Hayfan | Rainfall Station | Hayfan | Taiz | School | 423073 | 1461574 | Stopped | Manual | Manual | 2007 | NWRA | Old - Needs to be replaced by an Automatic station
10 | Al-Rahdah | Rainfall Station | Al-Rahdah | Taiz | - | 424207 | 1479266 | Stopped | Manual | Manual | 2007 | NWRA | Old - Needs to be replaced by an Automatic station
11 | Al-tabba | Rainfall Station | City | Taiz | - | 413681 | 1480917 | Stopped | Manual | Manual | 2010 | NWRA | Old - Needs to be replaced by an Automatic station
12 | Aqan | Runoff Gauge | Al-Mosaymer | Lahj | Wadi | 461287 | 1478756 | Stopped | No device | No device | 2011 | MAIF | No device. A new automatic station needs to be installed
13 | Agricultural Institute | Climate Station | Tuban | Lahj | Agricultural Institute | 493622 | 1436438 | Operational | Automatic |  | 2023 | NWRA | Working but data are not transferred due to operational and finance challenges
14 | College of Engineering | Climate Station | Tuban | Lahj | College of Engineering | 490884 | 1420046 | Operational | Automatic |  | 2023 | NWRA | Working but data are not transferred due to operational and finance challenges
15 | Al-‘And – Water Corporation Yard | Climate Station | Tuban | Lahj | Yard | 490884 | 1420046 | Operational | Automatic |  | 2023 | NWRA | Working but data are not transferred due to operational and finance challenges
16 | Al-Mosaymer Hospital | Climate Station | Al-Mosaymer | Lahj | Hospital Building | 458699 | 1485927 | Operational | Automatic |  | 2023 | NWRA | Working but data are not transferred due to operational and finance challenges
17 | Jol Madram | Rainfall Station | Tuban | Lahj | - | 466777 | 1474308 | Stopped | Automatic |  | 2011 | NWRA | Not operating due to O&M and finance challenges
18 | Alrejaa | Rainfall Station | Tuban | Lahj | - | 453968 | 1438834 | Stopped | Automatic |  | 2011 | NWRA | Not operating due to O&M and finance challenges
19 | Al-Fyaoosh | Rainfall Station | Tuban | Lahj | - | 499709 | 1436839 | Stopped | Automatic |  | 2011 | NWRA | Not operating due to O&M and finance challenges
20 | Agricultural College/Lahij | Climate Station | Tuban | Lahj | College building | 487710 | 1442980 | Stopped | Manual |  | 2011 | NWRA | A new station needs to be installed
21 | Saber | Climate Station | Tuban | Lahj | - | 490586 | 1437848 | Stopped | Automatic |  | 2011 | NWRA | Not operating due to O&M and finance challenges
22 | Al-Ashahiba | Rainfall Statin | Al-Ashahiba | Lahj |  | 414805 | 1453294 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
23 | Al-Habailin | Rainfall Statin | Al-Habailin | Lahj |  | 483661 | 1495958 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
24 | Al-Dala’a | Rainfall Statin | Al-Dala’a | Al-Dala’a |  | 470644 | 1515017 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
25 | Laboos | Rainfall Statin | Laboos | Lahj |  | 526689 | 1533905 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
26 | Haradh | Rainfall Statin | Haradh | Lahj |  | 444270 | 1473901 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
27 | Al-Dukiem | Runoff/ Water Level | Tuban | Lahj | Wadi | 471150 | 1470150 | Not Working | Automatic | Automatic | 1998 | NWRA | Not operating. A new automatic station needs to be installed
28 | Warrazan | Runoff/ Water Level | Al-Misrakh | Taiz | Wadi | 1483032 | 417451 | Not working | Data logger | Manual | - | NWRA | Not operating due to O&M and finance challenges
29 | Billiah | Runoff/ Water Level | Tuban | Lahj | Wadi | 1476463 | 474919 | Not Working | Data Logger | Manual | - | NWRA | Not operating due to O&M and finance challenges
30 | Tor Al-Baha | Climatic Station | Tor Al-Baha |  |  | 427516 | 1452298 | Not Working | Manual | Manual | 2011 | NWRA | Not operating due to O&M and finance challenges
Other Stations Within the Catchment
31 | IBB-1 | Climate Station | City | Ibb | n.a | 13.9677 | 44.2 | Operational | NA | Manual | n.a | NWRA | -
32 | Oresima | Rainfall Station | Sayani | Ibb | n.a | 13.5233 | 44.4294 | Stopped | NA | Manual | n.a | NWRA | Not operating due to O&M and finance challenges
33 | Hayfan | Rainfall Station | Hayfan | Taiz | n.a | 13.3203 | 44.2889 | Operational | NA | Manual | n.a | NWRA | -
34 | Mawiah | Rainfall Station | Mawiah | Taiz | n.a | 13.5908 | 44.3603 | Stopped | NA | Manual | n.a | NWRA | Not operating due to O&M and finance challenges
35 | Dhwran | Rainfall Station | Al-Hussein | Al-Dhal’a | n.a | 13.7844 | 44.4414 | Stopped | NA | Manual | n.a | NWRA | Not operating due to O&M and finance challenges
36 | Sayani | Rainfall Station | Sayani | Ibb | n.a | 13.8219 | 44.1667 | Stopped | NA | Manual | n.a | NWRA | Not operating due to O&M and finance challenges
37 | N.Gomaye | Rainfall Station | Al-Hussein | Al-Dhal’a | n.a | 13.9206 | 44.3358 | Stopped | NA | Manual | n.a | NWRA | Not operating due to O&M and finance challenges
38 | Demt | Rainfall Station | Demt | Al-Dala’a | n.a | 14.0994 | 44.6769 | Stopped | NA | Manual | n.a | NWRA | Not operating due to O&M and finance challenges
39 | Qatabah | Rainfall Station | Qatabah | Al-Dala’a | n.a | 13.8533 | 44.7108 | Stopped | NA | Manual | n.a | NWRA | Not operating due to O&M and finance challenges

## Proposed Hydromet Interventions
ID | Category | Station Type | Site Name / Area | District | Governorate | Coordinates | Proposed Device and Operation Type | Data Transfer Method
1 | New | Rainfall Station | Quds/Al-Dhakhf | Al-Mawaset | Taiz | 406722, 1469803 | Automatic | Wireless
2 | New | Rainfall Station | Bani Yusuf/Al-Doum/Health Center | Al-Mawaset | Taiz | 405263, 1473386 | Automatic | Wireless
3 | New | Rainfall Station | Al-Akisha/7th July School | Al-Selw | Taiz | 412535, 1472906 | Automatic | Wireless
4 | New | Runoff Gauge | Sakhran/Al-Daraja Al-Sawda | Al-Selw | Taiz | 409235, 1475097 | Automatic | Wireless
5 | New | Rainfall Station | Bani Yusuf/Al-Dhanaib/Muadh bin Jabal School | Al-Mawaset | Taiz | 407572, 1472880 | Automatic | Wireless
6 | New | Rainfall Station | Al-Qateen/Health Center | Al-Selw | Taiz | 409704, 1472904 | Automatic | Wireless
7 | New | Rainfall Station | Bani Yusuf/Al-Najah School | Al-Mawaset | Taiz | 405968, 1473132 | Automatic | Wireless
8 | New | Rainfall Station | Al-Akeesha / July 7 School | Al-Selw | Taiz | 412535, 1472906 | Automatic | Wireless
9 | New | Runoff Gauge | wadi saqire / Beizakh Dam | Tuban | Lahij | 44.856792, 13.122273 | Automatic | Wireless
10 | New | Runoff Gauge | Qadi Elkabier / Falaj Dam | Tuban | Lahij | 44.849297, 13.100502 | Automatic | Wireless
11 | Replace | Runoff Gauge | Al-Arayes | Tuban | Lahij | 474940, 1462515 | Automatic | Wireless
12 | Replace | Runoff Gauge | Bayzag | Tuban | Lahij | 484478, 1450572 | Automatic | Wireless
13 | Replace | Runoff Gauge | Falq Ayad | Tuban | Lahij | 483664, 1448165 | Automatic | Wireless
14 | Replace | Runoff Gauge | Aqan | AlMosaymer | Lahij | 461287, 1478756 | Automatic | Wireless
15 | Replace | Runoff Gauge | AlDukiem | Tuban | Lahij | 471150, 1470150 | Automatic | Wireless
16 | Replace | Runoff Gauge | Warrazan | Al-Selw | Taiz | 417451 | Automatic | Wireless
17 | Replace | Runoff Gauge | Billah | AlMosaymer | Lahij | 474919, 1476463 | Automatic | Wireless
18 | Rehab | Rainfall Station | Hawban Qadas / Health Center | Al-Mawaset | Taiz | 406034, 1470223 | Automatic | Wireless
19 | Rehab | Rainfall Station | Balan | Al-Masrakh | Taiz | 398099, 1484000 | Automatic | Wireless
20 | Rehab | Rainfall Station | Warzan | Khudayr | Taiz | 417618, 1483321 | Automatic | Wireless
21 | Rehab | Rainfall Station | Al-Damnah - | Khudayr | Taiz | 412321, 1487045 | Automatic | Wireless
22 | Rehab | Rainfall Station | Hayfan | Hayfan | Taiz | 423073, 1461574 | Automatic | Wireless
23 | Rehab | Rainfall Station | Al-Rahdah | Khudayr | Taiz | 424207, 1479266 | Automatic | Wireless
24 | Rehab | Rainfall Station | Al-Daba | Al-Selw | Taiz | 413681, 1480917 | Automatic | Wireless
25 | Rehab | Integrated Climatic Station | Qadas / Al-Ma'amra | Al-Mawaset | Taiz | 411088, 1471616 | Automatic | Wireless
26 | Rehab | Climatic Station | Agricultural Institute | Tuban | Lahij | 493622, 1436438 | Automatic | Wireless
27 | Rehab | Climatic Station | Engineering College | Tuban | Lahij | 490884, 1420046 | Automatic | Wireless
28 | Rehab | Climatic Station | Al-And Water Reservoir | Tuban | Lahij | - | Automatic | Wireless
29 | Rehab | Climatic Station | Al-Mosaymer Hospital | Al-Mosaymer | Lahij | 458699, 1485927 | Automatic | Wireless
30 | Rehab | Climatic Station | Sabr | Tuban | Lahij | 490586, 1437848 | Automatic | Wireless
31 | Rehab | Climatic Station | Agriculture College | Tuban | Lahij | 487710, 1442980 | Automatic | Wireless
32 | Rehab | Climatic Station | Tor Al-Baha | Tuban | Lahij | 427516, 1452298 | Automatic | Wireless
33 | Rehab | Rainfall Station | Jol Madram | Tuban | Lahij | 466777, 1474308 | Automatic | Wireless
34 | Rehab | Rainfall Station | Al-Rejaa | Tuban | Lahij | 453968, 1438834 | Automatic | Wireless
35 | Rehab | Rainfall Station | Al-Fyaoosh | Tuban | Lahij | 499709, 1436839 | Automatic | Wireless
36 | Rehab | Rainfall Station | Al-Ashahiba | Al-Ashahiba | Lahij | 414805, 1453294 | Automatic | Wireless
37 | Rehab | Rainfall Station | Al-Habailin | Al-Habailin | Lahij | 483661, 1495958 | Automatic | Wireless
38 | Rehab | Rainfall Station | Al-Dala'a | Al-Dala'a | Lahij | 470644, 1515017 | Automatic | Wireless
39 | Rehab | Rainfall Station | Laboos | Yafa'a | Lahij | 526689, 1533905 | Automatic | Wireless
40 | Rehab | Rainfall Station | Haradh | Haradh | Lahij | 444270, 1473901 | Automatic | Wireless