## Existing Hydromet Network
# | Station | Type | District | Governorate | Type of Location | Coordinates |  | Status | Type | Data Transfer | Year of Establishment | Operated by | Notes
1 | Hawban Qadas / Health Center | Rainfall Station | Al-Mawaset | Taiz | Health Center | 406034 | 1470223 | Stopped | Manual | Manual | 2007 | NWRA | Old - Needs to be replaced by an Automatic station
2 | Al-Arayes | Runoff Gauge | Tuban | Lahj | Wadi | 474940 | 1462515 | Stopped | No device | No device | 2011 | MAIF | No device. A new automatic station needs to be installed
3 | Bayzag | Runoff Gauge | Tuban | Lahj | Wadi | 484478 | 1450572 | Stopped | No device | No device | 2011 | MAIF | No device. A new automatic station needs to be installed
4 | Falaj Iyad | Runoff Gauge | Tuban | Lahj | Wadi | 483664 | 1448165 | Stopped | No device | No device | 2011 | MAIF | No device. A new automatic station needs to be installed
5 | Qadas / Al-Ma'amra | Climate Station | Al-Mawaset | Taiz | School | 411088 | 1471616 | Stopped | Automatic | Non-wireless | 2007 | NWRA | Stopped due to O&M challenges
6 | Bal'an | Rainfall Station | Al-Masrakh | Taiz | - | 398099 | 1484000 | Stopped | Manual | Manual | 1998 | NWRA | Old - Needs to be replaced by an Automatic station
7 | Warzan | Rainfall Station | Khudayr | Taiz | School | 417618 | 1483321 | Stopped | Manual | Manual | 1998 | NWRA | Old - Needs to be replaced by an Automatic station
8 | Al-Damnah | Rainfall Station | Khudayr | Taiz | School | 412321 | 1487045 | Stopped | Manual | Manual | 2007 | NWRA | Old - Needs to be replaced by an Automatic station
9 | Hayfan | Rainfall Station | Hayfan | Taiz | School | 423073 | 1461574 | Stopped | Manual | Manual | 2007 | NWRA | Old - Needs to be replaced by an Automatic station
10 | Al-Rahdah | Rainfall Station | Khudayr | Taiz | - | 424207 | 1479266 | Stopped | Manual | Manual | 2007 | NWRA | Old - Needs to be replaced by an Automatic station
11 | Al-Daba | Rainfall Station |  | Taiz | - | 413681 | 1480917 | Stopped | Manual | Manual | 2010 | NWRA | Old - Needs to be replaced by an Automatic station
12 | Aqan | Runoff Gauge | Al-Mosaymer | Lahj | Wadi | 461287 | 1478756 | Stopped | No device | No device | 2011 | MAIF | No device. A new automatic station needs to be installed
13 | Agricultural Institute | Climate Station | Tuban | Lahj | Agricultural Institute | 493622 | 1436438 | Operational | Automatic |  | 2023 | NWRA | Working but data are not transferred due to operational and finance challenges
14 | College of Engineering | Climate Station | Tuban | Lahj | College of Engineering | 490884 | 1420046 | Operational | Automatic |  | 2023 | NWRA | Working but data are not transferred due to operational and finance challenges
15 | Al-‘And – Water Corporation Yard | Climate Station | Tuban | Lahj | Yard | 490884 | 1420046 | Operational | Automatic |  | 2023 | NWRA | Working but data are not transferred due to operational and finance challenges
16 | Al-Mosaymer Hospital | Climate Station | Al-Mosaymer | Lahj | Hospital Building | 458699 | 1485927 | Operational | Automatic |  | 2023 | NWRA | Working but data are not transferred due to operational and finance challenges
17 | Jol Madram | Rainfall Station | Tuban | Lahj | - | 466777 | 1474308 | Stopped | Automatic |  | 2011 | NWRA | Not operating due to O&M and finance challenges
18 | Alrejaa | Rainfall Station | Tuban | Lahj | - | 453968 | 1438834 | Stopped | Automatic |  | 2011 | NWRA | Not operating due to O&M and finance challenges
19 | Al-Fyaoosh | Rainfall Station | Tuban | Lahj | - | 499709 | 1436839 | Stopped | Automatic |  | 2011 | NWRA | Not operating due to O&M and finance challenges
20 | Agricultural College/Lahij | Climate Station | Tuban | Lahj | College building | 487710 | 1442980 | Stopped | Manual |  | 2011 | 0 | A new station needs to be installed
21 | Saber | Climate Station | Tuban | Lahj | - | 490586 | 1437848 | Stopped | Automatic |  | 2011 | NWRA | Not operating due to O&M and finance challenges
22 | Al-Ashahiba | Rainfall Station | Al-Ashahiba | Lahj |  | 414805 | 1453294 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
23 | Al-Habailin | Rainfall Station | Al-Habailin | Lahj |  | 483661 | 1495958 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
24 | Al-Dala’a | Rainfall Station | Al-Dala’a | Al-Dala’a |  | 470644 | 1515017 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
25 | Laboos | Rainfall Station | Laboos | Lahj |  | 526689 | 1533905 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
26 | Haradh | Rainfall Station | Haradh | Lahj |  | 444270 | 1473901 | Stopped | Automatic | Automatic | 2011 | NWRA | Not operating due to O&M and finance challenges
27 | Al-Dukiem | Runoff/ Water Level | Tuban | Lahj | Wadi | 471150 | 1470150 | Not Working | Automatic | Automatic | 1998 | NWRA | Not operating. A new automatic station needs to be installed

## Proposed Hydromet Stations
ID | Type | Area | District | Governorate | Coordinates |  | Proposed Device Type | Data Transfer Method | Notes
0 | Rainfall Station | Quds/Al-Dhakhf | Al-Mawaset | Taiz | 406722 | 1469803 | Automatic | Wireless
1 | Rainfall Station | Bani Yusuf/Al-Doum/Health Center | Al-Mawaset | Taiz | 405263 | 1473386 | Automatic | Wireless
3 | Rainfall Station | Al-Akisha/7th July School | Al-Selw | Taiz | 412535 | 1472906 | Automatic | Wireless
2 | Runoff Guage | Sakhran/Al-Daraja Al-Sawda | Al-Selw | Taiz | 409235 | 1475097 | Automatic | Wireless | The end of Sakhran wadi
4 | Rainfall Station | Bani Yusuf/Al-Dhanaib/Muadh bin Jabal School | Al-Mawaset | Taiz | 407572 | 1472880 | Automatic | Wireless
5 | Rainfall Station | Al-Qateen/Health Center | Al-Selw | Taiz | 409704 | 1472904 | Automatic | Wireless
6 | Rainfall Station | Bani Yusuf/Al-Najah School | Al-Mawaset | Taiz | 405968 | 1473132 | Automatic | Wireless
8 | Rainfall Station | Al-Akeesha / July 7 School | Al-Selw | Taiz | 412535 | 1472906 | Automatic | Wireless
9 | Sakhran/Al-Daraja Al-Sawda | Sakhran/Al-Daraja Al-Sawda | Al-Selw | Taiz | 409235 | 1475097 | Automatic | Wireless
10 | Runoff Gauge | Al-Arays / Al-Arays Dam | Tuban | Lahij | 44.7687 | 13.2302 | Automatic | Wireless
11 | Runoff Gauge | wadi saqire / Beizakh Dam | Tuban | Lahij | 44.8568 | 13.1223 | Automatic | Wireless
12 | Runoff Gauge | Qadi Elkabier / Falaj Dam | Tuban | Lahij | 44.8493 | 13.1005 | Automatic | Wireless
13 | Runoff Gauge | Aqan | Al-Mosaymer | Lahij | 44.6425 | 13.3769 | Automatic | Wireless
14 | Runoff Gauge | Dukiem | Tuban | Lahij | 44.7585 | 13.2697 | Automatic | Wireless