## Wells Data
ID | Filled By | Entry Date | Coordinates |  | Well Name | Well Type (Drilled, Dug) | Area | District | Governorate | Well Depth (m) | Water Level (m) | Yield (L/min) | Usage Type (Industrial, Agricultural, Drinking) | Water Quality |  |  |  | Geological Description | Notes
[14 empty] | TDS (mg/L) | EC (µS/cm) | Temp. (°C) | ph
0 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 14\5\2025 | 406845 | 1469923 | Al-Sabeel | Dug | Quds / Al-Dhakhf | Al-Mawaset | Taiz | 10 | 6.53 | 3 | Drinking + Irrigation | 553 | 869 | 24.1 | ph 7.2 | Quaternary Alluvial (sand, gravel, and clays) and Tertiary Volcanics (Basalt, Rhyolite, etc).
1 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 14\5\2025 | 407331 | 1469596 | Saddam Ahmed Mohammed Al-Munifi | Dug | Quds / Al-Dhakhf | Al-Mawaset | Taiz | 25 | 22 | 4 | Drinking + Irrigation | 368 | 566 | 30.1 | ph 7.6 | Quaternary Alluvial (sand, gravel, and clays) and Tertiary Volcanics (Basalt, Rhyolite, etc).
3 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 406828 | 1470350 | Najib Abduldaem Mohsen | Dug | Quds / Hamdan | Al-Mawaset | Taiz | 22.5 | 22 | 0.07 | Drinking + Irrigation | 609 | 988 | 24.1 | ph 7.1 | Alluvial and Volcanics
2 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 406869 | 1470468 | Ghumdan Mohammed Qasim | Dug | Quds / Hamdan | Al-Mawaset | Taiz | 16.6 | 15.2 | 4.17 | Drinking + Irrigation | 826 | 1373 | 23.7 | ph 7.2 | Alluvial and Volcanics
4 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 407609 | 1471031 | Abdul Fattah Ahmed Abdullah Sharaf | Dug | Quds / Wadi Al-Ajab | Al-Mawaset | Taiz | 24.6 | 23.8 | 4.3 | Drinking + Irrigation | 648 | 1091 | 23.4 | ph 7.8 | Alluvial and Volcanics
5 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 408042 | 1471366 | Mahmoud Ahmed Hamoud | Dug | Quds / Al-Adouf / Wadi Al-Ajab | Al-Mawaset | Taiz | 42 | 28.3 | 10.4 | Drinking + Irrigation | 667 | 1037 | 24.2 | ph 7.2 | Alluvial and Volcanics
6 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 407874 | 1471677 | Mohammed Abdullah Thabit | Dug | Quds / Al-Awja / Wadi Al-Ajab | Al-Mawaset | Taiz | 13.5 | 12.4 | 2.1 | Drinking | 670 | 1108 | 23.3 | ph 7.1 | Alluvial and Volcanics
7 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 407962 | 1471988 | Maad Abdul-Tawab Youssef | Dug | Quds / Al-Awja / Wadi Al-Ajab | Al-Mawaset | Taiz | 15 | 14.3 | 0.14 | Drinking + Irrigation | 640 | 1055 | 23.4 | ph 7.5 | Alluvial and Volcanics
8 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 408438 | 1472683 | Ali Darham Qasim | Dug | Bani Youssef / Wadi Al-Hareeba | Al-Mawaset | Taiz | 16.94 | 15.6 | 10.24 | Drinking + Irrigation | 703 | 1172 | 24 | ph 7.2 | Alluvial and Volcanics
9 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 406681 | 1472718 | Mohammed Abdul-Salam Ali Nasher | Dug | Bani Youssef / Dahran / Wadi Sadeem | Al-Mawaset | Taiz | 25 | 18.9 | 4.2 | Drinking + Irrigation | 595 | 870 | 25 | ph 8.1 | Alluvial and Volcanics
10 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 405992 | 1472718 | Abdul-Rahim Mansour Ahmed Abdullah | Dug | Bani Youssef / Dahran / Wadi Sadeem | Al-Mawaset | Taiz | 15.6 | 15.2 | 0.5 | Drinking + Irrigation | 604 | 1050 | 23.2 | ph 7.5 | Alluvial and Volcanics
11 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 405834 | 1473180 | Mohammed Qasim Yahya | Dug | Bani Youssef / Dahran / Wadi Sadeem | Al-Mawaset | Taiz | 28 | 26.6 | 1.39 | Drinking | 750 | 1161 | 24 | ph 7.1 | Alluvial and Volcanics
12 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 15\5\2025 | 405380 | 1473310 | Mohammed Abdul-Rahman Mansour | Dug | Bani Youssef / Dahran / Wadi Sadeem | Al-Mawaset | Taiz | 23 | 21.4 | 2.1 | Drinking + Irrigation | 890 | 1536 | 25.2 | ph 7.3 | Alluvial and Volcanics
13 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 409721 | 1473084 | Shaif Abdu Sharaf | Dug | Al-Qutain | Al-Selw | Taiz | 9 | 8.1 | 2 | Drinking + Irrigation | 684 | 1125 | 23 | ph 7.1 | Sedimentary and sandstone formations
14 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 409353 | 1472944 | Radwan Ahmed Qasim | Dug | Al-Qutain / Hijjat Al-Munizil | Al-Selw | Taiz | 10 | 9 | 2.1 | Drinking + Irrigation | 352 | 570 | 27 | ph 7.2 | Alluvial and Volcanics
15 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 409425 | 147295 | Abdullah Ahmed Ba'iq | Dug | Al-Qutain / Hijjat Al-Munizil | Al-Selw | Taiz | 16 | 8.5 | 3.1 | Drinking + Irrigation | 384 | 615 | 24.7 | ph 7.5 | Alluvial and Volcanics
16 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 409896 | 1472734 | Shaif Abdu Gharsan | Dug | Al-Qutain | Al-Selw | Taiz | 15 | 8.3 | 83.3 | Drinking + Irrigation | 570 | 293 | 24.6 | ph 6.9 | Sedimentary and sandstone formations
17 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 408566 | 1473404 | Qassim Hameed Fare' | Dug | Al-Hasiwa | Al-Selw | Taiz | 12 | 8.9 | 13.8 | Drinking + Irrigation | 554 | 904 | 23.3 | ph 8.2 | Sedimentary, sandstone, and Volcanics formations
18 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 409187 | 1473980 | Abdul-Wahab Qasim Abdu | Dug | Sakran | Al-Selw | Taiz | 39 | 15.7 | 6.9 | Industrial | 542 | 874 | 23.7 | ph 7.9 | Sedimentary, sandstone, and Volcanics formations
19 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 409111 | 1474733 | Well Dabee' | Dug | Sakran | Al-Selw | Taiz | 6 | 1.2 | 1.1 | Drinking + Irrigation | 493 | 797 | 25.2 | ph 8 | Alluvial and Volcanics
20 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 408503 | 1472886 | Ali Hamoud Ali | Dug | Al-Hareeba | Al-Selw | Taiz | 19 | 14.8 | 27 | Drinking + Irrigation | 540 | 860 | 26.3 | ph 7.2 | Sedimentary, sandstone, and Volcanics formations
21 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 406570 | 1473250 | Ahmed Shamsan Hamadi | Dug | Bani Youssef / Al-Adwa | Al-Mawaset | Taiz | 22 | 13.7 | 0.8 | Drinking + Irrigation | 430 | 684 | 24 | ph 7.6 | Alluvial and Volcanics
22 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 406860 | 1473340 | Bir Al-Safa | Dug | Bani Youssef / Al-Dhanib | Al-Mawaset | Taiz | 9.8 | 9 | 0.6 | Drinking | 432 | 725 | 27 | ph 7.4 | Alluvial and Volcanics
23 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 406620 | 147408 | Muhayyub Qaid | Dug | Bani Youssef / Al-Aqaf / Mafraq Sharar | Al-Mawaset | Taiz | 13 | 11.2 | 10.7 | Drinking + Irrigation | 660 | 1100 | 25 | ph 7.5 | Alluvial and Volcanics
24 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 407098 | 1475668 | Bir Al-Salf | Dug | Bani Youssef / Al-Jazaa / Kharaasa | Al-Mawaset | Taiz | 8 | 5 | 0.6 | Domestic | 370 | 638 | 24.5 | ph 7.7 | Alluvial and Volcanics
25 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 18\5\2025 | 406184 | 1475917 | Mansour Ghalib | Dug | Bani Youssef / Al-Jarnat / Al-Najid | Al-Mawaset | Taiz | 15 | 13.4 | 1.4 | Irrigation | 492 | 757 | 24.1 | ph 7.8 | Alluvial and Volcanics
26 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 19\5\2025 | 410847 | 1471105 | Ibrahim Mohammed Qasim | Dug | Quds / Jawhan / Khaydhaba | Al-Mawaset | Taiz | 6 | 5.4 | 0.14 | Drinking + Irrigation | 396 | 618 | 25 | ph 7.2 | Alluvial and Volcanics
27 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 19\5\2025 | 410774 | 1471072 | Khaydhaba | Dug | Quds / Jawhan / Khaydhaba | Al-Mawaset | Taiz | 6.6 | 6.1 | 0.4 | Drinking | 613 | 1110 | 24.3 | ph 7.5 | Alluvial and Volcanics
28 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 19\5\2025 | 411197 | 1471834 | Amin Abbas Al-Humaidi | Dug | Quds / Al-Ma'amra | Al-Mawaset | Taiz | 9 | 8.9 | 1.4 | Drinking + Irrigation | 357 | 662 | 23.3 | ph 7.1 | Sedimentary, sandstone, and Volcanics formations
29 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 19\5\2025 | 410070 | 1472120 | Ali Abdullah Naji | Dug | Quds / Jawhan | Al-Mawaset | Taiz | 17 | 15.5 | 66.7 | Drinking + Irrigation | 486 | 818 | 25 | ph 7 | Alluvial and Volcanics
30 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 19\5\2025 | 410138 | 1472441 | Ahmed Abdul-Rahman | Dug | Quds / Jawhan | Al-Mawaset | Taiz | 12.5 | 12 | 1 | Domestic | 560 | 903 | 23 | ph 7 | Alluvial and Volcanics
31 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 19\5\2025 | 410610 | 1472267 | Jameel Sadiq | Dug | Quds / Jawhan / Al-Hadiya | Al-Mawaset | Taiz | 25 | 22 | 66.7 | Drinking + Irrigation | 540 | 920 | 26 | ph 7 | Alluvial and Volcanics
31 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 19\5\2025 | 410610 | 1472267 | Abdul Qadir Ahmed Sharaf | Dug | Bani Youssef / Wadi Al-Sadeem | Al-Mawaset | Taiz | 25 | 22 | 66.7 | Drinking + Irrigation | 540 | 920 | 7 | ph 8 | Alluvial and Volcanics
32 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 20\5\2025 | 406524 | 1472694 | Al-Ja'aba & Al-Dakhl Water Project | Dug | Quds / Al-Ja'aba | Al-Mawaset | Taiz | 36 | 33 | 180 | Drinking + Irrigation | 608 | 957 | 7.3 | ph 7.97 | Alluvial and Volcanics
33 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 21\5\2025 | 410120 | 1469535 | Al-Jund & Amghan Water Project | Drilled | Quds / Al-Jund | Al-Mawaset | Taiz | 100 | 64 | 360 | Drinking | 575 | 645 | 7.3 | ph 7.96 | Sedimentary, sandstone, and Volcanics formations
34 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 21\5\2025 | 410931 | 1470305 | Jabir Well | Drilled | Wadi Sagheer | Tuban | Lahij | 287 | 131 | 360 | Drinking | 580 | 801 | 7.4 | ph 7.60 | Sedimentary, sandstone, and Volcanics formations
35 | Eng. Mansour | 14\5\2025 | 505976 | 1434096 | Al-Fayoush | Drilled | Wadi Sagheer | Tuban | Lahij | 150 | 20 | N/A | Monitoring Well | 2740 | 5520 | 24.5 | ph 7.56 | Wadis sediments | There is no sample.
36 | Eng. Mansour | 14\5\2025 | 498651 | 1437721 | Al-Habeel | Dual | Al-Habeel / Wadi Sagheer | Tuban | Lahij | 85 | 61.5 | 600 | Irrigation | 939 | 1894 | 34.5 | ph 7.36 | Wadis sediments
37 | Eng. Mansour | 14\5\2025 | 494833 | 1439308 | Al-Majhafa | Dual | Al-Majhafa / Wadi Sagheer | Tuban | Lahij | 120 | 64.7 | 600 | Irrigation | 904 | 1820 | 35.4 | ph 7.57 | Wadis sediments
38 | Eng. Mansour | 14\5\2025 | 493728 | 1442084 | - | Dual | - | Tuban | Lahij | 0 | 67.2 | 600 | Irrigation | 1010 | 2030 | 34.8 | ph 7.32 | Wadis sediments
39 | Eng. Mansour | 14\5\2025 | 488633 | 1445558 | Abr Badr | Drilled | Abr Badr | Tuban | Lahij | 100 | 70 | 600 | Irrigation | 1250 | 2500 | 33.6 | ph 7.55 | Wadis sediments
40 | Eng. Mansour | 14\5\2025 | 488633 | 1445558 | Wadi Khayr | Drilled | Kawkaban | Tuban | Lahij | 100 | 80 | 600 | Irrigation | 941 | 1886 | 34.4 | ph 7.39 | Wadis sediments
41 | Eng. Mansour | 14\5\2025 | 488962 | 1447467 | Jul Yamani | Drilled | Wadi Kabeer | Tuban | Lahij | 100 | 32.82 | 600 | Industrial | N/A | N/A | N/A | N/A | Wadis sediments | There is no sample.
42 | Eng. Mansour | 14\5\2025 | 485650 | 1441349 | Al-Ziyadi | Dual | Wadi Kabeer | Tuban | Lahij | 100 | 49.4 | 600 | Irrigation | 1050 | 2110 | 36.7 | ph 7.60 | Wadis sediments
43 | Eng. Mansour | 14\5\2025 | 482499 | 1447595 | Al-Khudad | Dual | Wadi Kabeer | Tuban | Lahij | 0 | 31 | 600 | Irrigation | 2090 | 4190 | 34 | ph 7.43 | Wadis sediments
44 | Eng. Mansour | 14\5\2025 | 483029 | 1451521 | Zaydah | Drilled | Zaydah | Tuban | Lahij | 70 | N/A | N/A | Domestic | N/A | N/A | N/A | N/A | Wadis sediments | There is no Key of well room.
45 | Eng. Mansour | 14\5\2025 | 478921 | 1456374 | Dar Al-Salam | Dug | Al-And | Tuban | Lahij | 30 | 19.8 | 480 | Irrigation | 1260 | 2480 | 35 | ph 7.38 | Wadis sediments
46 | Eng. Mansour | 14\5\2025 | 476353 | 1456425 | Al-And | Dual | Al-And | Tuban | Lahij | 50 | 14 | 420 | Irrigation | 1650 | 3300 | 34 | ph 7.19 | Wadis sediments
47 | Eng. Mansour | 14\5\2025 | 476102 | 1459966 | Saylat Balah | Dug | Balah | Tuban | Lahij | 15 | 4.2 | 420 | Irrigation | 1140 | 2280 | 32.1 | ph 7.63 | Wadis sediments
48 | Eng. Mansour | 14\5\2025 | 476505 | 1463344 | Al-Shadheef | Dug | Al-Shadheef | Tuban | Lahij | 15 | 5 | N/A | Irrigation | 2990 | 5930 | 31.9 | ph 7.56 | Wadis sediments
49 | Eng. Mansour | 14\5\2025 | 484087 | 1443350 | Madinat Al-Shaab | Dual | Madinat Al-Shaab | Tuban | Lahij | 60 | 41.6 | 300 | Domestic | 1511 | 3040 | 36.9 | ph 7.78 | Wadis sediments
50 | Eng. Mansour | 18\5\2025 | 492704 | 1419686 | Al-Basateen | Drilled | Al-Basateen | Tuban | Lahij | 50 | 10.6 | N/A | N/A | 3340 | 6640 | 34.6 | ph 8.14 | Wadis sediments
51 | Eng. Mansour | 18\5\2025 | 495923 | 1424699 | Ja'ula | Drilled | Ja'ula | Tuban | Lahij | 110 | 28.2 | 480 | Irrigation | 852 | 1704 | 37.7 | ph 7.55 | Wadis sediments
52 | Eng. Mansour | 18\5\2025 | 492331 | 1428149 | Kadmat Mash'abi | Drilled | Kadmat Mash'abi | Tuban | Lahij | 70 | 62.21 | N/A | N/A | 1640 | 3280 | 33.8 | ph 7.38 | Wadis sediments
53 | Eng. Mansour | 18\5\2025 | 489537 | 1432052 | Al-Wahhat | Drilled | West of the Valley | Tuban | Lahij | 120 | 74.2 | 600 | Domestic | 960 | 1917 | 35.2 | ph 8.1 | Wadis sediments
54 | Eng. Mansour | 18\5\2025 | 487026 | 1433736 | Abdul Qadir Ahmed Sharaf Well | Drilled | Bani Youssef / Wadi Al-Sadeem | Al-Mawaset | Taiz | 120 | 74.5 | 600 | Irrigation | 1080 | 2160 | 34.4 | ph 7.86 | Wadis sediments
55 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 20\5\2025 | 406524 | 1472694 | Al-Ja'aba & Al-Dakhl Water Project Well | Dug | Al-Mawasat / Quds / Al-Ja'aba | Al-Mawaset | Taiz | 36 | 33 | 180 | Drinking + Irrigation | 608 | 957 | 25.5 | ph 7.3 | Alluvial and Volcanics
56 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 21\5\2025 | 410120 | 1469535 | Al-Jund & Amghan Water Project Well | Drilled | Al-Mawasat / Quds / Al-Jund | Al-Mawaset | Taiz | 100 | 64 | 360 | Drinking | 575 | 645 | 27.9 | ph 7.3 | Sedimentary, sandstone, and Volcanics formations
57 | Eng. Mansour | 21\5\2025 | 410931 | 1470305 | Jul Mudram Water Project | Drilled | Wadi Tuban / Jul Mudram | Al-Mosaymer | Lahij | 287 | 131 | 360 | Drinking | 580 | 801 | 28 | ph 7.4 | Sedimentary, sandstone, and Volcanics formations
58 | Eng. Mansour | 21\5\2025 | 466146 | 1474764 | Sheikh Ahmed Matnoush | Dual | Wadi Tuban / Jul Mudram | Al-Mosaymer | Lahij | 70 | 5.23 | 240 | Domestic | 1380 | 2700 | 30.9 | ph 7.43 | Alluvial and Volcanics | Due to the low water level in the drilled well, a hand-dug well was excavated to a depth of 10 meters to recharge the drilled well.
59 | Eng. Mansour | 21\5\2025 | 465799 | 1475148 | Aqan Water Project | Dug | Wadi Tuban / Aqan | Tuban | Lahij | 8 | 5 | 240 | Domestic | 1240 | 2490 | 30.4 | ph 7.62 | Wadis sediments | Under construction
60 | Eng. Mansour | 21\5\2025 | 461364 | 1478834 | Mareb Water Project | Drilled | Al-Masaimir / Mareb | Al-Mosaymer | Lahij | 30 | 10 | 300 | Domestic | 1152 | 2250 | 31.7 | ph 7.4 | Alluvial and Volcanics
61 | Eng. Mansour | 21\5\2025 | 459805 | 1484356 | Al-Masaimir Water Project | Dug | North of Al-Masaimir | Al-Mosaymer | Lahij | 20 | 7.15 | 240 | Domestic | 1120 | 2240 | 32.1 | ph 7.37 | Wadis sediments
62 | Eng. Mansour | 21\5\2025 | 547970 | 1486292 | Makidim Water Project | Dug | Wadi Tuban / Makidim | Tuban | Lahij | 20 | 11.1 | 750 | Domestic | 1000 | 2000 | 30.6 | ph 7.5 | Wadis sediments
63 | Eng. Mansour | 21\5\2025 | 455920 | 1489769 | Lower Makran Water Project | Dug | Wadi Tuban / Makran | Tuban | Lahij | 20 | 17.58 | 540 | Domestic | 919 | 1831 | 30.7 | ph 7.36 | Wadis sediments
64 | Eng. Mansour | 21\5\2025 | 457059 | 1492478 | Sheikh Mohammed Saleh Haydara | Dug | Wadi Tuban / Makran | Tuban | Lahij | 15 | 7.4 | 420 | Domestic | 1136 | 2250 | 31 | ph 7.28 | Wadis sediments
65 | Eng. Mansour | 21\5\2025 | 457003 | 1492541 | Hanikah Well | Dug | Wadi Hanikah | Tuban | Lahij | 10 | 6.85 | 480 | Domestic | 1220 | 2450 | 30.1 | ph 7.3 | Wadis sediments
66 | Eng. Mansour | 22\5\2025 | 451478 | 1490203 | Ahmed Mohammed Faris (Malha Well) | Dug | Wadi Malha | Tuban | Lahij | 10 | 7.42 | 180 | Domestic | 1050 | 2120 | 32 | ph 7.4 | Alluvial and Volcanics
67 | Eng. Mansour | 22\5\2025 | 449641 | 1489761 | Saeed Doukm Saleh | Dug | Al-Wa'ar | Tuban | Lahij | 4.5 | 3.8 | بالدلو | Domestic | 879 | 1743 | 31.9 | ph 7.35 | Alluvial and Volcanics
68 | Eng. Mansour | 22\5\2025 | 449381 | 1490775 | Nu'man Water Project | Dug | Nu'man | Tuban | Lahij | 22 | 20.12 | 180 | Domestic | 1270 | 2570 | 32.1 | ph 7.35 | Alluvial and Volcanics
69 | Eng. Mansour | 22\5\2025 | 442068 | 1495174 | Al-Kuraif Mahsous Well | Drilled | Mahsous | Tuban | Lahij | 300 | 21.75 | 240 | Domestic | 801 | 1620 | 39.2 | ph 7.41 | Alluvial and Volcanics
70 | Eng. Mansour | 22\5\2025 | 449610 | 1483445 | Nasser Well 44 | Drilled | Nasser Well Field (Far West) | Tuban | Lahij | 150 | 87.71 | 780 | Domestic | 1040 | 2060 | 34.7 | ph 7.3 | Wadis sediments
71 | Eng. Mansour | 22\5\2025 | 492198 | 1432350 | Nasser Well 03 | Drilled | Nasser Well Field (West-Central) | Tuban | Lahij | 150 | 87.71 | 780 | Drinking | 975 | 1949 | 36.3 | ph 7.55 | Wadis sediments | Currently under maintenance
72 | Eng. Mansour | 22\5\2025 | 492911 | 1433249 | Nasser Well 07 | Drilled | Near Administration (Central Field) | Tuban | Lahij | 155 | 90.8 | 780 | Drinking | 774 | 1555 | 36.5 | ph 8.32 | Wadis sediments | Currently under maintenance
73 | Eng. Mansour | 22\5\2025 | 494012 | 1433825 | Nasser Well 14 | Drilled | Nasser Well Field (Far East) | Tuban | Lahij | 350 | 103 | 780 | Drinking | 829 | 1657 | 38.1 | ph 7.27 | Wadis sediments | The water level was measured two months ago
74 | Eng. Mansour | 22\5\2025 | 495888 | 1434798 | Al-Manasira 19 | Drilled | Al-Manasira Field | Tuban | Lahij | 300 | 104 | 780 | Drinking | N/A | N/A | N/A | N/A | Wadis sediments | The water level was measured a month ago, there is no sample from the well
75 | Eng. Mansour | 22\5\2025 | 503098 | 1445186 | Al-Manasira 18 | Drilled | Al-Manasira Field | Tuban | Lahij | 120 | 57 | 600 - 780 | Drinking | 1500 | 3000 | 38 | ph 8.99 | Wadis sediments
75 | Eng. Mansour | 22\5\2025 | 503510 | 1445184 | Al-Manasira 19 | Drilled | Al-Manasira Field | Tuban | Lahij | 120 | 55.3 | 600 - 780 | Drinking | 1290 | 2600 | 38.3 | ph 8.39 | Wadis sediments
76 | Eng. Mansour | 22\5\2025 | 487603 | 1423936 | Ali Mohammed Ali Salem | Drilled | Bir Ahmad Field | Tuban | Lahij | 60 | 42.96 | 780 | Drinking | 1920 | 3840 | 35.3 | 7.65 | Wadis sediments
77 | Eng. Mansour | 22\5\2025 | 486309 | 1424755 | Bir Ahmed 14 | Drilled | Bir Ahmad Field | Tuban | Lahij | 250 | N/A | 780 | Drinking | 1030 | 2090 | 39.4 | 7.98 | Wadis sediments | Difficulty in measuring the water level.
78 | Eng. Mansour | 22\5\2025 | 485837 | 1425112 | Bir Ahmed 16 | Drilled | Bir Ahmad Field | Tuban | Lahij | 150 | N/A | 780 | Drinking | 1070 | 2150 | 37.4 | 7.46 | Wadis sediments | Difficulty in measuring the water level.
79 | Eng. Mansour | 22\5\2025 | 484893 | 1426507 | Bir Ahmed 31 – Replace with New | Drilled | Bir Ahmad Field | Tuban | Lahij | 350 | 69.9 | 840 | Drinking |  |  |  |  | Wadis sediments
80 | Eng. Mansour | 22\5\2025 | 483091 | 1428243 | Bir Ahmed 42 | Drilled | Bir Ahmad Field | Tuban | Lahij | 150 | N/A | 960 | Drinking | 1170 | 2360 | 39.2 | 7.47 | Wadis sediments | Difficulty in measuring the water level.
81 | Eng. Mansour | 22\5\2025 | 466146 | 1474764 | Joule Mudram Water Project | Dual | Joule Mudram | Al-Mosaymer | Lahij | 70 | 5.23 | 240 | Domestic | 1380 | 2700 | 30.9 | 7.43 | Wadi deposits, volcanic rocks | Due to weak water in cylindrical well, a hand-dug well was drilled 10 m deep
82 | Eng. Mansour | 22\5\2025 | 465799 | 1475148 | Sheikh Ahmed Matnosh | Dug | Joule Mudram | Al-Mosaymer | Lahij | 8 | 5 | 240 | Domestic | 1240 | 2490 | 30.4 | 7.62 | Wadi deposits | Under construction
83 | Eng. Mansour | 22\5\2025 | 461364 | 1478834 | Aqan Water Project | Drilled | Aqan | Al-Mosaymer | Lahij | 30 | 10 | 300 | Domestic | 1152 | 2250 | 31.7 | 7.4 | Wadi deposits, volcanic rocks
84 | Eng. Mansour | 22\5\2025 | 459805 | 1484356 | Mareeb Water Project | Dug | Mareeb | Al-Mosaymer | Lahij | 20 | 7.15 | 240 | Domestic | 1120 | 2240 | 32.1 | 7.37 | Wadi deposits
85 | Eng. Mansour | 22\5\2025 | 547970 | 1486292 | Al-Musaymir Water Project | Dug | North Al-Musaymir | Al-Mosaymer | Lahij | 20 | 11.1 | 750 | Domestic | 1000 | 2000 | 30.6 | 7.5 | Wadi deposits
86 | Eng. Mansour | 22\5\2025 | 455920 | 1489769 | Makidim Water Project | Dug | Makidim | Al-Mosaymer | Lahij | 20 | 17.58 | 540 | Domestic | 919 | 1831 | 30.7 | 7.36 | Wadi deposits
87 | Eng. Mansour | 22\5\2025 | 457059 | 1492478 | Lower Mkhran Water Project | Dug | Mkhran | Al-Mosaymer | Lahij | 15 | 7.4 | 420 | Domestic | 1136 | 2250 | 31 | 7.28 | Wadi deposits
88 | Eng. Mansour | 22\5\2025 | 457003 | 1492541 | Sheikh Mohammed Saleh | Dug | Mkhran | Al-Mosaymer | Lahij | 10 | 6.85 | 480 | Domestic | 1220 | 2450 | 30.1 | 7.3 | Wadi deposits
89 | Eng. Mansour | 22\5\2025 | 451478 | 1490203 | Hanikah Well | Dug | Wadi Hanikah | Al-Mosaymer | Lahij | 10 | 7.42 | 180 | Domestic | 1050 | 2120 | 32 | 7.4 | Wadi deposits, volcanic rocks
90 | Eng. Mansour | 22\5\2025 | 492198 | 1432350 | Bir Nasser 44 | Drilled | Bir Nasser Field - Far West | Tuban | Lahij | 150 | 87.71 | 780 | Domestic | 975 | 1949 | 36.3 | 7.55 | Alluvial deposits | Currently under maintenance
91 | Eng. Mansour | 22\5\2025 | 492911 | 1433249 | Bir Nasser 03 | Drilled | Bir Nasser Field - Western Center | Tuban | Lahij | 155 | 90.8 | 780 | Domestic | 774 | 1555 | 36.5 | 8.32 | Alluvial deposits | Currently under maintenance
92 | Eng. Mansour | 22\5\2025 | 494012 | 1433825 | Bir Nasser 07 | Drilled | Next to Administration - Center of Field | Tuban | Lahij | 350 | 103 | 780 | Domestic | 829 | 1657 | 38.1 | 7.27 | Alluvial deposits
93 | Eng. Mansour | 22\5\2025 | 495888 | 1434798 | Bir Nasser 14 | Drilled | Bir Nasser Field - Far East | Tuban | Lahij | 300 | 104 | 780 | Domestic |  |  |  |  | Alluvial deposits | No sample taken from the well
94 | Eng. Mansour | 22\5\2025 | 504787 | 1429008 | Al-Imad | Dug | Al-Imad, Aden | Tuban | Lahij | 18 | 17.5 | 600 | Not Available | 2540 | 5090 | 30 | 7.97 | Alluvial sand deposits
95 | Eng. Mansour | 22\5\2025 | 500225 | 1433365 | Green City | Drilled | Green City | Tuban | Lahij | 70 | 46.6 | 600 | Domestic | 1240 | 2490 | 27.4 | 7.96 | Alluvial deposits
96 | Eng. Mansour | 22\5\2025 | 502851 | 1436979 | Al-Mahatt | Drilled | Small Valley | Tuban | Lahij | 85 | 42.3 | 600 | Agricultural | 1440 | 2890 | 35.4 | 7.6 | Alluvial deposits
97 | Eng. Mansour | 22\5\2025 | 505976 | 1434096 | Bir Jabir | Drilled | Small Valley | Tuban | Lahij | 150 | 20 | 0 | Monitoring Well | 2740 | 5520 | 24.5 | 7.56 | Alluvial deposits
98 | Eng. Mansour | 22\5\2025 | 498651 | 1437721 | Al-Fayoush | Dual | Small Valley | Tuban | Lahij | 85 | 61.5 | 600 | Agricultural | 939 | 1894 | 34.5 | 7.36 | Alluvial deposits
99 | Eng. Mansour | 22\5\2025 | 494833 | 1439308 | Al-Habil | Dual | Al-Habil, Small Valley | Tuban | Lahij | 120 | 64.7 | 600 | Agricultural | 904 | 1820 | 35.4 | 7.57 | Alluvial deposits
100 | Eng. Mansour | 22\5\2025 | 493728 | 1442084 | Al-Majhafah | Dual | Al-Majhafah, Small Valley | Tuban | Lahij |  | 67.2 | 600 | Agricultural | 1010 | 2030 | 34.8 | 7.32 | Alluvial deposits
101 | Eng. Mansour | 22\5\2025 | 488633 | 1445558 | ‘Abr Badr | Drilled | ‘Abr Badr, Lahj | Tuban | Lahij | 100 | 80 | 600 | Agricultural | 941 | 1886 | 34.4 | 7.39 | Alluvial deposits
102 | Eng. Mansour | 22\5\2025 | 488962 | 1447467 | Wadi Khayr | Drilled | Kawkaban, Lahj | Tuban | Lahij | 100 | 32.82 | 0 | Monitoring Well | — | — | — | — | Alluvial deposits
103 | Eng. Mansour | 22\5\2025 | 485650 | 1441349 | Joul Yamani | Dual | Large Valley | Tuban | Lahij | 100 | 49.4 | 600 | Agricultural | 1050 | 2110 | 36.7 | 7.6 | Alluvial deposits
104 | Eng. Mansour | 22\5\2025 | 482499 | 1447595 | Al-Zayyadi | Dual | Large Valley | Tuban | Lahij | — | 31 | 600 | Agricultural | 2090 | 4190 | 34 | 7.43 | Alluvial deposits
105 | Eng. Mansour | 22\5\2025 | 483029 | 1451521 | Al-Khaddad | Drilled | Large Valley | Tuban | Lahij | 70 | — | 0 | Domestic | — | — | — | — | Alluvial deposits
106 | Eng. Mansour | 22\5\2025 | 478921 | 1456374 | Zayda | Dug | Zayda | Tuban | Lahij | 30 | 19.8 | 480 | Agricultural | 1260 | 2480 | 35 | 7.38 | Alluvial deposits
107 | Eng. Mansour | 22\5\2025 | 476353 | 1456425 | Dar Al-Salam | Dual | Al-'And | Tuban | Lahij | 50 | 14 | 420 | Agricultural | 1650 | 3300 | — | 7.19 | Alluvial deposits
108 | Eng. Mansour | 22\5\2025 | 476102 | 1459966 | Al-‘And | Dug | Al-‘And | Tuban | Lahij | 15 | 4.2 | 420 | Agricultural | 1140 | 2280 | 32.1 | 7.63 | Alluvial deposits
109 | Eng. Mansour | 22\5\2025 | 476505 | 1463344 | Saylah Balah | Dug | Balah | Tuban | Lahij | 15 | 5 | 0 | Not Available | 2990 | 5930 | 31.9 | 7.56 | Alluvial deposits
110 | Eng. Mansour | 22\5\2025 | 484087 | 1443350 | Al-Shadheef | Dual | Al-Shadheef | Tuban | Lahij | 60 | 41.6 | 300 | Domestic | 1511 | 3040 | 36.9 | 7.78 | Alluvial deposits
111 | Eng. Mansour | 22\5\2025 | 492704 | 1419686 | Madinat Al-Shaab | Drilled | Madinat Al-Shaab | Tuban | Lahij | 50 | 10.6 | 0 | Not Available | 3340 | 6640 | 34.6 | 8.14 | Alluvial deposits
112 | Eng. Mansour | 22\5\2025 | 495923 | 1424699 | Al-Basateen | Drilled | Al-Basateen | Tuban | Lahij | 110 | 28.2 | 480 | Agricultural | 852 | 1704 | 37.7 | 7.55 | Alluvial deposits
113 | Eng. Mansour | 22\5\2025 | 492331 | 1428149 | Ja'oulah | Drilled | Ja'oulah | Tuban | Lahij | 70 | 62.21 | 0 | Not Available | 1640 | 3280 | 33.8 | 7.38 | Alluvial deposits
114 | Eng. Mansour | 22\5\2025 | 489537 | 1432052 | Kadmat Mashaeibi | Drilled | Kadmat Mashaeibi | Tuban | Lahij | 120 | 74.2 | 600 | Domestic | 960 | 1917 | 35.2 | 8.01 | Alluvial deposits
115 | Eng. Mansour | 22\5\2025 | 487026 | 1433736 | Al-Wahat | Drilled | West of the Valley | Tuban | Lahij | 120 | 74.5 | 600 | Agricultural | 1080 | 2160 | 34.4 | 7.86 | Alluvial deposits
116 | Eng. Ahmed Abdullah Aqlan | 2025-05-15 | 44.1377 | 13.3009 | Al-Khurrur | Dug | Madinat Al-Shaab | Tuban | Taiz | 30 | 25 | 30 | Agricultural | N/A | N/A | N/A | N/A | Wadis sediments
117 | Eng. Fouad Mohammed Bishr | 2025-05-20 | 44.6902 | 13.3325 | Awlad Al-Baqari | Dug | Al-Basateen | Tuban | lahij | 14 | 6 | 300 | Domestic + Irrigation | 1140 | 2280 | 31.3 | 7.03 | Wadis sediments
118 | Eng. Fouad Mohammed Bishr | 2025-05-20 | 44.5819 | 13.4521 | Hajj Ali Jul Al-Maksaa | Dug | Ja'oulah | Tuban | lahij | 35 | 10 | 360 | Domestic + Irrigation | 861 | 1722 | 33.1 | 7.28 | Wadis sediments
119 | Eng. Fouad Mohammed Bishr | 2025-05-20 | 44.5928 | 13.4583 | Al-Fadila (Mohsen Fadl Al-Ghreeqa) | Dug | Kadmat Mashaeibi | Tuban | lahij | 40 | 10 | 300 | Domestic + Irrigation | 848 | 1696 | 32.9 | 7.3 | Wadis sediments
120 | Eng. Fouad Mohammed Bishr | 2025-05-20 | 44.5901 | 13.4613 | Mohsen Mani Dami | Dug | West of the Valley | Tuban | lahij | 40 | 12 | 270 | Domestic + Irrigation | 854 | 1708 | 33 | 7.2 | Wadis sediments
121 | Eng. Mansour | 22\5\2025 | 476990 | 1460171 | Water - Alanad 2 | Drilled | Water local corp. | Tuban | Lahij | 60 | 17 | Monitoring Well | Domestic | 1000 | 2000 | 32.3 | 7.42 | Wadis sediments
122 | Eng. Mansour | 22\5\2025 | 495131 | 1433663 | NWRA-2 | Drilled | Hussein Al-Azib Brick Factory - Rabat | Tuban | Lahij | 150 | 70 | Monitoring Well | Monitoring Well | 1040 | 2080 | 32.32 | 7.49 | Wadis sediments
123 | Eng. Mansour | 22\5\2025 | 487002 | 1423387 | NWRA-1 | Drilled | In front of the Ahmed Well field. | Tuban | Lahij | 150 | 44 | 600 | Domestic | 1090 | 2180 | 32.6 | 7.63 | Wadis sediments

## Springs Data
ID | Filled by | Entry Date | Coordinates |  | Spring Name | Area | District | Governorate | Spring Type (Hot, surface) | Discharge rate (L/minute) | Water availability period (Seasonal/Year-round) | Type of use (Industrial, agricultural, drinking) | Water Quality |  |  |  | Geological Description | Notes
[13 empty] | TDS | EC | Temp. (°C) | ph
0 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 14\5\2025 | 403252 | 1471966 | Al-Haqab | Bani Hammad / Al-Haqab | Al-Mawaset | Taiz | Surface | 0.7 | Year-round | Drinking + Irrigation | 214 | 553 | 26.1 | 8.3 | Volcanic formations (basalt, trachyte, volcanic ash, and tuf)
1 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 14\5\2025 | 406700 | 1469923 | Al-Dhakhf | Quds / Al-Dhakhf | Al-Mawaset | Taiz | Surface | 1 | Year-round | Drinking + Irrigation | 586 | 946 | 30.2 | 7.6 | Volcanic formations (basalt, trachyte, volcanic ash, and tuf)
3 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 409398 | 1473392 | Ein Al-Hait | Quds / Hawjan | Al-Mawaset | Taiz | Surface | 1 | Seasonal | Drinking | 404 | 660 | 24.8 | 7.5 | Volcanics
2 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 409252 | 1472885 | Ein Hijjat Al-Munizil | Al-Qutain | Al-Selw | Taiz | Surface | 1.6 | Seasonal | Drinking | 269 | 440 | 27 | 7.4 | Volcanics
4 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 411154 | 1472323 | Ein Hawad | Al-Akaysha / Al-Ardha | Al-Selw | Taiz | Surface | 3.5 | Seasonal | Drinking + Irrigation | 381 | 597 | 25 | 6.9 | Sandstone
5 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 412536 | 1473095 | Ein Al-Sabeel | Al-Akaysha | Al-Selw | Taiz | Surface | 6.9 | Seasonal | Drinking | 330 | 550 | 23 | 6.9 | Sandstone
6 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 412613 | 1473133 | Ein Al-Jamnoun | Al-Qabila | Al-Selw | Taiz | Surface | 0.5 | Seasonal | Drinking | 266 | 460 | 25 | 6.8 | Sandstone
7 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 412868 | 1474067 | Ein Ahmed Al-Haj | Al-Qabila | Al-Selw | Taiz | Surface | 6.7 | Seasonal | Domestic | 235 | 392 | 24.5 | 6.8 | Sandstone
8 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 17\5\2025 | 413065 | 1474274 | Ein Wadi Al-Mathafah | Al-Qabila | Al-Selw | Taiz | Surface | 50 | Seasonal | Drinking + Irrigation | 244 | 403 | 24.5 | 7.1 | Sandstone
9 | Eng. Nazir Basher Eng. Abdulbasit Al-Hamadi | 19\5\2025 | 410977 | 1471094 | Ein Mansour Mohammed Qasim | Quds / Jawhan / Khaydhaba | Al-Mawaset | Taiz | Surface | 0.1 | Year-round | Drinking | 212 | 345 | 22.3 |  | Volcanics